## Summary
uid | field | comment | comment2 | comment3
0 | About | PJM 5-bus test case
1 | Load | Load factor in EDTSlot and UCTSlot sourced from PJM 5-minutes load on August 30, 2023
2 | StaticGen | Minimum on/off time of generators were made up

## Bus
uid | idx | u | name | Vn | vmax | vmin | v0 | a0 | xcoord | ycoord | area | zone | owner
0 | Bus_1 | 1 | A | 230 | 1.1 | 0.9 | 1 | 0 | 0 | 0 | 1 | ZONE_1
1 | Bus_2 | 1 | B | 230 | 1.1 | 0.9 | 1 | 0 | 0 | 0 | 1 | ZONE_1
2 | Bus_3 | 1 | C | 230 | 1.1 | 0.9 | 1 | 0 | 0 | 0 | 2 | ZONE_1
3 | Bus_4 | 1 | D | 230 | 1.1 | 0.9 | 1 | 0 | 0 | 0 | 2 | ZONE_1
4 | Bus_5 | 1 | E | 230 | 1.1 | 0.9 | 1 | 0 | 0 | 0 | 3 | ZONE_1

## PQ
uid | idx | u | name | bus | Vn | p0 | q0 | vmax | vmin | owner | ctrl
0 | PQ_1 | 1 | PQ 1 | Bus_2 | 230 | 3 | 0.9861 | 1.1 | 0.9 |  | 1
1 | PQ_2 | 1 | PQ 2 | Bus_3 | 230 | 3 | 0.9861 | 1.1 | 0.9 |  | 1
2 | PQ_3 | 1 | PQ 3 | Bus_4 | 230 | 4 | 1.3147 | 1.1 | 0.9 |  | 1

## PV
uid | idx | u | name | Sn | Vn | bus | busr | p0 | q0 | pmax | pmin | qmax | qmin | v0 | vmax | vmin | td1 | td2 | ra | xs
0 | PV_1 | 1 | Alta | 100 | 230 | Bus_1 |  | 1 | 0 | 2.1 | 0.2 | 0.3 | -0.3 | 1 | 1.4 | 0.6 | 0.5 | 0 | 0.01 | 0.3
1 | PV_3 | 1 | Solitude | 100 | 230 | Bus_3 |  | 3.2349 | 0 | 5.2 | 0.5 | 1.275 | -1.275 | 1 | 1.4 | 0.6 | 0.5 | 0 | 0.01 | 0.3
2 | PV_5 | 1 | Brighton | 100 | 230 | Bus_5 |  | 4.6651 | 0 | 6 | 0.6 | 4.5 | -4.5 | 1 | 1.4 | 0.6 | 0.5 | 0 | 0.01 | 0.3

## Slack
uid | idx | u | name | Sn | Vn | bus | busr | p0 | q0 | pmax | pmin | qmax | qmin | v0 | vmax | vmin | td1 | td2 | ra | xs | a0
0 | Slack_4 | 1 | Sundance | 100 | 230 | Bus_4 |  | 0 | 0 | 2 | 0.2 | 1.5 | -1.5 | 1 | 1.4 | 0.6 | 0.5 | 0 | 0.01 | 0.3 | 0

## Line
uid | idx | u | name | bus1 | bus2 | Sn | fn | Vn1 | Vn2 | r | x | b | rate_a | rate_b | rate_c | g | b1 | g1 | b2 | g2 | trans | tap | phi | owner | xcoord | ycoord
0 | Line_0 | 1 | Line AB | Bus_1 | Bus_2 | 100 | 60 | 230 | 230 | 0.00281 | 0.0281 | 0.00712 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
1 | Line_1 | 1 | Line AD | Bus_1 | Bus_4 | 100 | 60 | 230 | 230 | 0.00304 | 0.0304 | 0.00658 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
2 | Line_2 | 1 | Line AE | Bus_1 | Bus_5 | 100 | 60 | 230 | 230 | 0.00064 | 0.0064 | 0.03126 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
3 | Line_3 | 1 | Line BC | Bus_2 | Bus_3 | 100 | 60 | 230 | 230 | 0.00108 | 0.0108 | 0.01852 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
4 | Line_4 | 1 | Line CD | Bus_3 | Bus_4 | 100 | 60 | 230 | 230 | 0.00297 | 0.0297 | 0.00674 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
5 | Line_5 | 1 | Line DE | Bus_4 | Bus_5 | 100 | 60 | 230 | 230 | 0.00297 | 0.0297 | 0.00674 | 2.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
6 | Line_6 | 1 | Line AB2 | Bus_1 | Bus_2 | 100 | 60 | 230 | 230 | 0.00281 | 0.0281 | 0.00712 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0

## Area
uid | idx | u | name
0 | 1 | 1
1 | 2 | 1
2 | 3 | 1

## Region
uid | idx | u | name
0 | ZONE_1 | 1 | ZONE 1
1 | ZONE_2 | 1 | ZONE 2

## GCost
uid | idx | u | name | gen | type | csu | csd | c2 | c1 | c0
0 | GCost_1 | 1 | Gcost 1 | PV_1 | 2 | 0 | 0 | 0 | 0.145 | 0
1 | GCost_2 | 1 | Gcost 2 | PV_3 | 2 | 0 | 0 | 0 | 0.3 | 0
2 | GCost_3 | 1 | Gcost 3 | PV_5 | 2 | 0 | 0 | 0 | 0.4 | 0
3 | GCost_4 | 1 | Gcost 4 | Slack_4 | 2 | 0 | 0 | 0 | 0.1 | 0

## SRCost
uid | idx | gen | csr
0 | SRC_1 | PV_1 | 0.1
1 | SRC_2 | PV_3 | 0.1
2 | SRC_3 | PV_5 | 0.1
3 | SRC_4 | Slack_4 | 0.1

## SFRCost
uid | idx | gen | cru | crd
0 | SFRC_1 | PV_1 | 0 | 0
1 | SFRC_2 | PV_3 | 0 | 0
2 | SFRC_3 | PV_5 | 0 | 0
3 | SFRC_4 | Slack_4 | 0 | 0

## DCost
uid | idx | u | name | pq | cdp
0 | DCost_1 | 1 | Dcost 1 | PQ_1 | 1000
1 | DCost_2 | 1 | Dcost 2 | PQ_2 | 1000
2 | DCost_3 | 1 | Dcost 3 | PQ_3 | 1000

## NSRCost
uid | idx | gen | cnsr
0 | NSRC_1 | PV_1 | 0.1
1 | NSRC_2 | PV_3 | 0.1
2 | NSRC_3 | PV_5 | 0.1
3 | NSRC_4 | Slack_4 | 0.1

## EDTSlot
uid | idx | name | sd | ug
0 | EDT1 | EDT1 | 0.793, 0 | 1,1,1,1
1 | EDT2 | EDT2 | 0.756, 0 | 1,1,1,1
2 | EDT3 | EDT3 | 0.723, 0 | 1,1,1,1
3 | EDT4 | EDT4 | 0.708, 0 | 1,1,1,1
4 | EDT5 | EDT5 | 0.7, 0 | 1,1,1,1
5 | EDT6 | EDT6 | 0.706, 0 | 1,1,1,1

## UCTSlot
uid | idx | name | sd
0 | UCT1 | UCT1 | 0.793, 0
1 | UCT2 | UCT2 | 0.756, 0
2 | UCT3 | UCT3 | 0.723, 0
3 | UCT4 | UCT4 | 0.708, 0
4 | UCT5 | UCT5 | 0.7, 0
5 | UCT6 | UCT6 | 0.706, 0

## SFR
uid | idx | u | name | du | dd | zone
0 | SFR1 | 1 | SFR1 | 0.03 | 0.03 | ZONE1
1 | SFR2 | 1 | SFR2 | 0.03 | 0.03 | ZONE2

## SR
uid | idx | u | name | demand | zone
0 | SR1 | 1 | SR1 | 0.03 | ZONE1
1 | SR2 | 1 | SR2 | 0.03 | ZONE2

## NSR
uid | idx | u | name | demand | zone
0 | NSR1 | 1 | NSR1 | 0.01 | ZONE1
1 | NSR2 | 1 | NSR2 | 0.01 | ZONE2